## Slide 1: Progress Report
Chen, Chien-Hua
陳芊樺
July 2, 2020

## Slide 2: Part A. Voltage Setting of Mass Spectrometer

## Slide 3: Voltage Setting - DP, EP, CE, CXP
DP: Declustering Potential (去簇電壓) prevent the ions from clustering together
EP: Entrance Potential (射入電壓) focus the ions into the mass spectrometer
CE: Collision Energy (碰撞電壓) refers to the rate of acceleration as the ions enter Q2
CXP: Collision Cell Exit Potential (撞擊室射出電壓) focuses and accelerates the ions out of Q2 and into Q3

## Slide 4: Mass Spectrometer
Q1
Q3
CE, CXP
DP, EP
(Collision)

## Slide 5: Prediction Strategy
DP, EP: Area under MS intensity peak of Q1 peptide
CE, CXP: Area under MS intensity peak of Q3 peptide
e.g.
Q3
.
.
.
.
.
.
CE=5
CE=10
CE=15
CE=20
.
.
.
Repeat
in different CE voltages

## Slide 6: Prediction Optimal DP, CE, EP and CXP
manual
automatic
Only 11 points!
33

## Slide 7: Assessment – 1. Minimum of Distance to Standard Results (Difference)
Accuracy?

## Slide 8: Assessment – 2. Minimum of Mean Square Error (MSE)
Linearity?  Need adjustment

## Slide 9: 4 Methods to Predict
 Regression
 SG smooth
 Bézier Curve
 SG smooth + Bézier



## Slide 10: Cubic Bézier Curve
Used for sketching smooth line of scatter plot in Microsoft Excel.
Need 4 points (P0, P1, P2, P3)
B(t) = (1-t)3P0 + 3t(1-t)2P1 + 3t2(1-t)P2 + t3P3 ; t [0, 1]
start
end
empirical method

## Slide 11: interpolation
1
2
3
4

## Slide 12: Cubic Bézier Curve

## Slide 13: Comparison b/t Cubic Bézier & Microsoft Excel
Chart: QPSQSYTLFESFSGEK_2.b3.1
| 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55
 | 378937 | 380265 | 463141 | 601704 | 603016 | 488462 | 367598 | 308911 | 344997 | 336578 | 385717
Cubic Bézier
Microsoft Excel

## Slide 14: Established Packages
Data
Optimal Parameter (DP, EP, CE, CXP) Estimation
Regression (n Points, m Degree)
Bézier Curve
SG smoothing
SG smoothing + Bézier Curve
Accuracy Calculation :
Difference
MSE
Summary Table

## Slide 15: Results - Prediction ability
CE > CXP >> DP > EP
>
>
>

## Slide 16: Results - Ramping vs Descend Ramping
CXP
CE
Difference
MSE
5->10->15->20…
55->50->45->40…

## Slide 17: Results – Optimal Parameter applied
CXP
CE
Difference
MSE

## Slide 18: Results – Optimal Parameter applied
EP
DP
Difference
MSE

## Slide 19
m/z calculation
CXP formula
Peptides sequences
MRM acquisition methods (CE ramping)
CE determination
Top N Q1/Q3 pairs selection
DP
ramping
EP
ramping
CXP
ramping
DP/EP/CXP determination
Top N Q1/Q3 pairs selection
Available m/z range (e.g. 350-1250)
m/z overlap note (∆ < 0.1)
Light & Heavy type
Optional
CXP = a*Q3+b (a, b would vary between machines)
Default parameters Ramping mid point/interval/steps
Fitting method Top 10-15 (predicted peak area)
Fitting method Top 4-10 (predicted peak area)
Top 3-6 (real peak area)
Check run (repeat 3 times)
Final method
Input file (.csv/.xslx/.txt) with
format fixed columns
Workflow





1.
2.
3.
3.

## Slide 20: Part B. Shotgun Proteomics - peptide p-value & q-value

## Slide 21: Shotgun Proteomics

## Slide 22
Spectrum
Peptide
Protein
isoform
Protein
PSM
score
FDR,
q-value
Peptide
Score
Protein
FDR
PSM
score

## Slide 23: Workflow
Peptide Sequence
Target / Decoy
Score
QGQ….QSR
Target
6.421
MLA…SSR
Decoy
3.407
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
.
200,000 rows
*
800 files
SQLite3